City of Garden Grove Water Quality Management Plan Checklist for Certain New Development and Significant Redevelopment Projects called “Priority Projects”

Project Name:

Project Location:

Project Description:

| Table 7.11-2: Priority Projects Categories for North County Permit Area* | YES | NO |
| --- | --- | --- |
| New development projects that create 10,000 square feet or more of impervious surface. This category includes commercial, industrial, residential housing subdivisions, mixed-use, and public projects on private or public property that falls under the planning and building authority or the Permittees. |  |  |
| Automotive repair shops. This applies to facilities that are categorized in any one of the following Standard Industrial Classification (SIC) codes 5013, 5014, 5541, 7532-7534, and 7536-7539. |  |  |
| Restaurants where the land area of development is 5,000 square feet or more including parking area. This category is defined as facilities that sell prepared foods and drinks for consumption, including stationary lunch counters and refreshment stands selling prepared foods and drinks for immediate consumption (SIC code 5812). |  |  |
| 4. Hillside development greater than 5,000 square feet. Hillside development is defined as any development which is located in an area with known erosive soil conditions or where |  |  |
| 5. Impervious surface of 2,500 square feet or more located within, directly adjacent to (within200 feet), or discharging directly into receiving waters within Environmentally Sensitive Areas (ESAs). |  |  |
| 6. Parking lots 5,000 square feet or more including associated drive aisle, and potentially exposed to urban stormwater runoff. A parking lot is defined as a land area or facility for the temporary parking or storage of motor vehicles used personally, for business, or for commerce. |  |  |
| 7. Streets, roads, highways, and freeways. This category includes any paved surface that is 5,000 square feet or greater used for the transportation of automobiles, trucks, motorcycles, and other vehicles. (See discussion under (*Section 7.II-1.5 relative to public projects). |  |  |
| 8. All significant redevelopment projects, where significant redevelopment is defined as the addition or replacement of 5,000 or more square feet of impervious surface on an already developed site. Redevelopment does not include routine maintenance activities that are conducted to maintain original line and grade, hydraulic capacity, original purpose of the facility, or emergency redevelopment activity required to protect public health and safety. If the redevelopment results in the addition or replacement of less than 50 percent of the impervious area on-site and the existing development was not subject to WQMP requirement, the numeric sizing criteria discussed in Section 7.II-2.0 only applies to the addition or replacement area. If the addition or replacement accounts for 50 percent or more of the impervious area, the Project WQMP requirements apply to the entire development. |  |  |
| 9. Retail Gasoline Outlets (RGOs). This category includes RGOs that meet the following criteria: (a) 5,000 square feet or more, or (b) a projected Average Daily Traffic (ADT) of 100 or more vehicles per day. |  |  |

*Note:  The above table can be found on page 7.11 1-5 of the Model WQMP.

http://www.ocwatersheds.com/Documents/2011-05-19_Model_WQMP.pdf

A Non-Priority Project Water Quality Plan is required to be completed for private new development and significant redevelopment projects within Permittees’ jurisdictions, and equivalent public agency capital projects undertaken by the Permittees that qualify as Non-Priority Projects. These are projects that do not fall under one of the Priority Project Categories defined within the Model WQMP but meet one of the following

conditions:

• Require discretionary action that will include a precise plan of development, except for those projects exempted by the Permittee Water Quality Ordinance (as applicable); or

• Require issuance of a non-residential plumbing permit (issued by the City of Garden Grove Community Development Department) for pipelines conveying hazardous materials (e.g. gasoline) as defined in the Permittee Water Quality /Stormwater Ordinance.

Requirements for Non-Priority Projects are contained in a separate Non-Priority Project Water Quality Plan, it serves as basis for completing a project-specific plan that is described in the DAMP and is available from the applicable Permittee. The Non-Priority Project Water Quality Plan requires that a Project Proponent document the selection of site design, source control and any other BMPs included in a project. Information contained in this Model WQMP and the TGD can be used as a reference for completing the Non-Priority Water Quality Project Plan. *

* Note:  The above can be found on page 7.11 1-7 of the Model WQMP.

http://www.ocwatersheds.com/Documents/2011-05-19_Model_WQMP.pdf

Synopsis:

Priority Project	On the condition that any of the project criteria are met listed on the table 7.11-2 of the Model WQMP. That is if any criteria is checked "YES", the project is a Priority Project.  Project proponents must implement a Conceptual or Preliminary WQMP and/or final Project WQMP that includes LID and/or BMPs.  The final Project WQMP must be prepared by or under the direction of a California Registered Civil Engineer and affixed with their stamp.

Non-Priority Project	If the project criteria listed on table 7.11-2 of the Model WQMP are not met.  That is if all criteria is checked "No", but meet  one of the Non-Priority Project conditions, the project is subject to a Non-Priority Project Water Quality Plan.

Discretionary Action	In cases where project criteria does not meet the Priority or Non-Priority checklist or conditions respectively, the Public Works Director/City Engineer will exercise discretionary action and require the implementation of source control and pollution prevention measures consistent with stormwater quality LID BMP Fact sheets.  The project proponent shall also comply with City adopted construction requirements.

One Acre or Greater Project	The California General Construction Permit requires all dischargers where construction activity disturbs one acre or more to; develop and implement a Storm Water Pollution Prevention Plan (SWPPP) which specifies best management practices (BMPs) that will prevent all construction pollutants from contacting stormwater with the intent of keeping all products of erosion from moving off-site into receiving waters.

DEFINITIONS

Low Impact Development Best Management Practice (LID BMP) – As defined on page 7.11 1-1 of the Model WQMP, a LID BMP is a BMP that provides retention or biotreatment as part of an LID strategy – these may include hydrologic source controls (HSCs), retention, and biotreatment BMP.

Per page 7.11 1-2 of the Model WQMP, BMPs may include:

- Site design measures

- Implementing LID BMPS on-site

- Constructing or participating in sub-regional/regional LID BMPs

- Implementing hydromodification control BMPs

- Utilizing alternative programs or treatment control BMPs

- Employing applicable source control BMPs

For questions regarding the implementation of the Water Quality Management Plan or the Non-Priority Project Water Quality Plan, please contact the Land Development Associate Engineer Kamyar Dibaj at (714) 741-5186 or email him at kdibaj@garden-grove.org

For questions regarding General Construction Permit or the implementation of Storm Water Pollution Prevention Plan (SWPPP) please contact the Environmental Services Manager A. J. Holmon III at (714) 741-5956 or e-mail him at ajh@ci.garden-grove.ca